## Sheet1
TABLE 1
Sr. No. | Product / Service Description | Specifications | Brand | Unit | Qty | Unit Price | Amount
1 | Main Equipment , Materials
1.1 | PV Solar Panels | 545-550W Mono-Pero Halfout | Tier / Jinko | Panel | 10 | 41,965 | 419,650.00
1.2 | Imported Solar Invertor | 10 KW Ongrid | Solaw/Growatt/Hopewind | Nos | 1 | 286,000 | 286,000.00
1.3 | Solar Structure | L-2 Aluminium | Pak Made | Nos | 5 | 6,270 | 31,350.00
2 | Electrical & Safety Equipment
2.1 | Protection Panel with Bolts (DB) | PVC | Pak Made | Nos | 2 | 1,980 | 3,960.00
2.2 | Protection Panel with Bolts (DB) | 10*12 | Pak Made | Nos | 1 | 3,300 | 3,300.00
2.3 | AC Circuit Breaker (External Disconnect | MCCB 100-A |  | Nos | 1 | 7,700 | 7,700.00
2.4 | AC Circuit Breaker | 63-VAC, 04-Pole | CNC | Nos | 1 | 3,520 | 3,520.00
2.5 | AC Surge Protection Device (SPD) | 40KA, 10KA, 400V | CNC | Nos | 1 | 5,280 | 5,280.00
2.6 | DC Circuit Breaker | 1000-VDC, 2-Pole | CNC | Nos | 2 | 2,200 | 4,400.00
2.7 | DC Surge Protection Device (SPD) | 1000-VDC, 2-Pole | CNC | Nos | 2 | 3,300 | 6,600.00
3 | Cables & Conductors
3.1 | AC Cable for Disconnection Switch 4-Core | 1000-VAC 10MM Black | Pak Made | Meter | 5 | 518 | 2,587.50
3.2 | AC Cable Roll (PVC/Cu/SC) | 600 VAC 4MM3 | Pak Made | Meter | 10 | 265 | 2,645.00
3.4 | DC Cable Roll (SC/Flex/Cu/PVC/PVC) | 1000-VAC 4MM | Pak Made | Meter | 40 | 190 | 7,590.00
3.5 | DC Cable Roll (SC/Flex/Cu/PVC/PVC) Red | 1000-VAC 4MM | Pak Made | Meter | 40 | 190 | 7,590.00
3.6 | DC Cable Roll (SC/Fles/Cu/PVC/PC) | 600-VAC 2 5MM | Pak Made | Meter | 90 | 104 | 9,315.00
4 | Auxillary Items
4.1 | PVC Pipe (Class-E) | 1 Diameter |  | Nos | 10 | 380 | 3,795.00
4.2 | PVC Pipe Sockets (Class-E) | 1" Diameter |  | Nos | 5 | 40 | 201.25
4.3 | PVC Pipe Bends (Class-E) | 1" Diameter |  | Nos | 10 | 69 | 690.00
4.4 | Clamps for PVC Pipe | 1" Diameter |  | Nos | 45 | 29 | 1,293.75
4.5 | Duct | 40x40 MM |  | Nos | 1 | 1,955 | 1,955.00
4.6 | Lightning Arresters | Standard | Pak Made | Nos | 1 | 5,520 | 5,520.00
4.7 | MC4 Solar Connector | Male female | Slocable/Risen | Pairs | 4 | 230 | 920.00
4.8 | Drywall Screws & Rawal Plugs | M10, 1.5-Inch | . | Nos | 12 | 40 | 483.00
4.9 | Rawal Bolts | M10/M12 |  | Nos | 50 | 52 | 2,587.50
4.10 | Insulation Tape | Three Colours | Osaka | Nos | 3 | 52 | 155.25
4.11 | Cable Zip Ties | 150MM | Taiwan/China | Nos | 1 | 690 | 690.00
5 | Massionary. Digging. Construction, | Grounding Works (Including | Material & Contract)
5.1 | 99.9% Copper Earthing wire | 16MM | Pak Made | Kg | 5 | 3,220 | 16,100.00
5.2 | 99.9% Copper Bare Conductor | 5-Ft | Pak Made | PCS | 2 | 1950 | 3,900.00
5.3 | Copper Clamps | - | - | PCS | 4 | 325 | 1,300.00
5.4 | Earthing Chemical Powder | - | - | PKT | 4 | 390 | 1,560.00
5.5 | Civil Work | Boring | - | Job | 2 | 6,500 | 13,000.00
6 | Installation & Services
6.1 | Installation Charges | 5-Kilowatt |  | Job | 1 | 30.000 | 30,000.00
6.2 | Delivery Charges | Transportation Loading |  | Job | 1 | 10,000 | 10,000.00
[6 empty] | Total | 895,638.25